## Overview
NYANDUNGU ECO-PARK – COMPREHENSIVE WATER QUALITY ASSESSMENT
Compiled from WASAC Laboratory Operations Test Reports (Oct 2025) and Biodiversity Survey Water Quality Assessment (Nov 2025)
DATASET 1 — WASAC Laboratory Operations: Effluent Discharge Tests
Purpose | Assess whether NEP effluent meets Rwanda national tolerance limits for discharged industrial wastewater
Standard Applied | RS 109:2022, Third Edition – Tolerance Limits of Discharged Industrial Wastewater
Sampling Date | 30 September 2025
Analysis Period | 01 October – 13 October 2025
Laboratory | WASAC Laboratory Operations, Kigali
Analyst / Approver | Claude TUYISHIME / Theoneste SINDIKUBWABO (Head of Lab Ops)
Sampling Points (4) | R1 (Report 10/25/029) · R2 (Report 10/25/030) · Outlet (Report 10/25/031) · S5 (Report 10/25/032)
Parameters Tested | 22 physicochemical and bacteriological parameters
Overall Conclusion | ALL 4 effluent points are NOT SAFE for direct discharge. Treatment required at each point.
DATASET 2 — Biodiversity Survey: Internal Water Quality Assessment
Purpose | Baseline assessment of physicochemical and biological water quality across NEP's internal ponds, channels, and sectors
Standard Applied | Rwanda/International freshwater and wetland quality standards (ISO methods)
Sampling Period | During 2025/2026 NEP Biodiversity Survey
Laboratory | External laboratory (methods cited per ISO standards)
Sampling Points (12) | S1 Pond 1–5 · S1 Inlet to S2 · S2 Masoro Exit · S3 Kivu Pond · S3 Pond 1 · S4 Ruhondo Pond · S5 at Bridge · S5 Ihema Pond
Parameters Tested | 23 physicochemical and bacteriological parameters
Key Findings | Critical exceedances in BOD (9 of 12 points), DO (4 of 12 below threshold), Total Coliforms (S1 P1 severely elevated at 3.86×10⁵), Fecal Coliforms, and E. coli at several points. Turbidity exceeded at S1 P3.
COLOUR KEY (applies to all result sheets)
Exceeds permissible limit / Non-compliant
Within permissible limit / Compliant
No permissible limit defined for this parameter
Not detected (ND) or no data

## WASAC – All 4 Samples
DATASET 1 — WASAC Effluent Tests ¦ Standard: RS 109:2022 ¦ Sampled: 30 Sep 2025 ¦ All values in stated units
No. | Parameter | Unit | Permissible Limit | R1 (Rpt 029) | R2 (Rpt 030) | Outlet (Rpt 031) | S5 (Rpt 032) | # Compliant | # Exceeded | Remarks
1 | Total Coliforms | Cfu/100 ml | 400 | 25×10³ | 1732×10² | 1553×10² | 411×10² | 0 | 4 | Bacteria from organic pollution / sewage
2 | E. Coli | Cfu/100 ml | 100 | 192×10² | 35×10² | 326×10² | 3×10³ | 0 | 4 | Fecal indicator – sewage contamination
3 | Salmonella spp | Cfu/1 ml | – | 3×10² | 25×10² | 10×10² | 3×10² | – | – | No RS 109 limit; detected at all points
4 | pH | – | 5–9 | 7.5 | 7.5 | 7.5 | 7.5 | 4 | 0 | pH within normal range at all points
5 | Electrical Conductivity | µS/cm | 1500 | 983 | 910 | 653 | 3930 | 3 | 1
6 | Total Suspended Solids | mg/l | 50 | 750 | 39 | 1 | 419 | 2 | 2 | S5 critically high (419 mg/l) – sewage/silt
7 | Nitrates (NO3-N) | mg/l | 45 | 0.8 | 1.1 | 0.8 | 1.5 | 4 | 0
8 | Nitrites (NO2-N) | mg/l | 0.9 | 0.000 | 0.102 | 0.005 | 0.025 | 4 | 0
9 | Ammonia Nitrogen | mg/l | 20 | 12.3 | 4.1 | 0.02 | 350 | 3 | 1 | S5 critically high (350 mg/l) – strong sewage signal
10 | Phosphates | mg/l | 2.2 | 3.47 | 0.81 | 0.15 | 1.40 | 3 | 1
11 | Oil & Grease | mg/l | 10 | 105 | 12 | 8 | 91 | 1 | 3 | R1 extreme (105 mg/l); S5 severe (91 mg/l)
12 | Sulphates | mg/l | 500 | 22 | 31 | 12 | 37 | 4 | 0
13 | Phenol | mg/l | 0.2 | 0.0 | 0.0 | 0.0 | 0.0 | 4 | 0
14 | Total Chlorine | mg/l | 1 | 0.00 | 0.00 | 0.00 | 0.00 | 0 | 4 | Total Cl = 0 at all points – no disinfection
15 | Free Chlorine | mg/l | 2 | 0.00 | 0.00 | 0.00 | 0.00 | 4 | 0
16 | Sulphide | mg/l | 1.0 | 0.403 | 0.008 | 0.001 | 0.46 | 4 | 0
17 | Iron | mg/l | 3.5 | 6.06 | 5.87 | 0.42 | 1.03 | 2 | 2 | R1 (6.06) and R2 (5.87) exceed 3.5 limit
18 | Manganese | mg/l | 0.1 | 0.784 | 0.905 | 0.199 | 0.387 | 0 | 4 | All 4 exceed 0.1 limit – geological/industrial source
19 | Copper | mg/l | 3 | 0.004 | 0.004 | 0.004 | 0.003 | 4 | 0
20 | Zinc | mg/l | 5 | 0.19 | 0.17 | 0.19 | 0.17 | 4 | 0
21 | Lead | mg/l | 0.1 | <0.005 | <0.005 | <0.005 | <0.005 | 4 | 0
22 | Aluminium (Al) | mg/l | – | 0.009 | 0.008 | 0.009 | 0.007 | – | –

## WASAC – By Report
TEST REPORT No: 10/25/029 ¦ Sample: R1 ¦ Code: 20250930-314 ¦ Delivered: 30/09/2025 ¦ Completed: 10/10/2025
No. | Parameter | Unit | Result | Permissible Limit | Status | Method Used
1 | Total Coliforms | Cfu/100 ml | 25×10³ | 400 | ❌ EXCEEDS | ISO 9308-1
2 | E. Coli | Cfu/100 ml | 192×10² | 100 | ❌ EXCEEDS | ISO 9308-1
3 | Salmonella spp | Cfu/1 ml | 3×10² | – | No standard | ISO 9308-1
4 | pH | – | 7.5 | 5–9 | ✔ OK | EPA 150.1
5 | Electrical Conductivity | µS/cm | 983 | 1500 | ✔ OK | HI 98360
6 | Total Suspended Solids | mg/l | 750 | 50 | ❌ EXCEEDS | HACH 8006
7 | Nitrates (NO3-N) | mg/l | 0.8 | 45 | ✔ OK | HACH 8039
8 | Nitrites (NO2-N) | mg/l | 0.000 | 0.9 | ✔ OK | HACH 8507
9 | Ammonia Nitrogen | mg/l | 12.3 | 20 | ✔ OK | HACH 78155
10 | Phosphates | mg/l | 3.47 | 2.2 | ❌ EXCEEDS | HACH 8048
11 | Oil & Grease | mg/l | 105 | 10 | ❌ EXCEEDS | ISO 9377-2
12 | Sulphates | mg/l | 22 | 500 | ✔ OK | HACH 8051
13 | Phenol | mg/l | 0.0 | 0.2 | ✔ OK | RS ISO8165-2
14 | Total Chlorine | mg/l | 0.00 | 1 | ❌ EXCEEDS | HACH 8021
15 | Free Chlorine | mg/l | 0.00 | 2 | ✔ OK | HACH 8021
16 | Sulphide | mg/l | 0.403 | 1.0 | ✔ OK | HACH 8131
17 | Iron | mg/l | 6.06 | 3.5 | ❌ EXCEEDS | HACH 8008
18 | Manganese | mg/l | 0.784 | 0.1 | ❌ EXCEEDS | HACH 8149
19 | Copper | mg/l | 0.004 | 3 | ✔ OK | HACH 8506
20 | Zinc | mg/l | 0.19 | 5 | ✔ OK | HACH 8009
21 | Lead | mg/l | <0.005 | 0.1 | ✔ OK | Trace2o-metalyser HM1000
22 | Aluminium (Al) | mg/l | 0.009 | – | No standard | HACH 8012
CONCLUSION: Effluent from NEP R1 is NOT SAFE for discharge into the environment. Treatment required per RS 109:2022, Third Edition. (Completed: 10/10/2025)
TEST REPORT No: 10/25/030 ¦ Sample: R2 ¦ Code: 20250930-315 ¦ Delivered: 30/09/2025 ¦ Completed: 13/10/2025
No. | Parameter | Unit | Result | Permissible Limit | Status | Method Used
1 | Total Coliforms | Cfu/100 ml | 1732×10² | 400 | ❌ EXCEEDS | ISO 9308-1
2 | E. Coli | Cfu/100 ml | 35×10² | 100 | ❌ EXCEEDS | ISO 9308-1
3 | Salmonella spp | Cfu/1 ml | 25×10² | – | No standard | ISO 9308-1
4 | pH | – | 7.5 | 5–9 | ✔ OK | EPA 150.1
5 | Electrical Conductivity | µS/cm | 910 | 1500 | ✔ OK | HI 98360
6 | Total Suspended Solids | mg/l | 39 | 50 | ✔ OK | HACH 8006
7 | Nitrates (NO3-N) | mg/l | 1.1 | 45 | ✔ OK | HACH 8039
8 | Nitrites (NO2-N) | mg/l | 0.102 | 0.9 | ✔ OK | HACH 8507
9 | Ammonia Nitrogen | mg/l | 4.1 | 20 | ✔ OK | HACH 78155
10 | Phosphates | mg/l | 0.81 | 2.2 | ✔ OK | HACH 8048
11 | Oil & Grease | mg/l | 12 | 10 | ❌ EXCEEDS | ISO 9377-2
12 | Sulphates | mg/l | 31 | 500 | ✔ OK | HACH 8051
13 | Phenol | mg/l | 0.0 | 0.2 | ✔ OK | RS ISO8165-2
14 | Total Chlorine | mg/l | 0.00 | 1 | ❌ EXCEEDS | HACH 8021
15 | Free Chlorine | mg/l | 0.00 | 2 | ✔ OK | HACH 8021
16 | Sulphide | mg/l | 0.008 | 1.0 | ✔ OK | HACH 8131
17 | Iron | mg/l | 5.87 | 3.5 | ❌ EXCEEDS | HACH 8008
18 | Manganese | mg/l | 0.905 | 0.1 | ❌ EXCEEDS | HACH 8149
19 | Copper | mg/l | 0.004 | 3 | ✔ OK | HACH 8506
20 | Zinc | mg/l | 0.17 | 5 | ✔ OK | HACH 8009
21 | Lead | mg/l | <0.005 | 0.1 | ✔ OK | Trace2o-metalyser HM1000
22 | Aluminium (Al) | mg/l | 0.008 | – | No standard | HACH 8012
CONCLUSION: Effluent from NEP R2 is NOT SAFE for discharge into the environment. Treatment required per RS 109:2022, Third Edition. (Completed: 13/10/2025)
TEST REPORT No: 10/25/031 ¦ Sample: Outlet ¦ Code: 20250930-316 ¦ Delivered: 30/09/2025 ¦ Completed: 10/10/2025
No. | Parameter | Unit | Result | Permissible Limit | Status | Method Used
1 | Total Coliforms | Cfu/100 ml | 1553×10² | 400 | ❌ EXCEEDS | ISO 9308-1
2 | E. Coli | Cfu/100 ml | 326×10² | 100 | ❌ EXCEEDS | ISO 9308-1
3 | Salmonella spp | Cfu/1 ml | 10×10² | – | No standard | ISO 9308-1
4 | pH | – | 7.5 | 5–9 | ✔ OK | EPA 150.1
5 | Electrical Conductivity | µS/cm | 653 | 1500 | ✔ OK | HI 98360
6 | Total Suspended Solids | mg/l | 1 | 50 | ✔ OK | HACH 8006
7 | Nitrates (NO3-N) | mg/l | 0.8 | 45 | ✔ OK | HACH 8039
8 | Nitrites (NO2-N) | mg/l | 0.005 | 0.9 | ✔ OK | HACH 8507
9 | Ammonia Nitrogen | mg/l | 0.02 | 20 | ✔ OK | HACH 78155
10 | Phosphates | mg/l | 0.15 | 2.2 | ✔ OK | HACH 8048
11 | Oil & Grease | mg/l | 8 | 10 | ✔ OK | ISO 9377-2
12 | Sulphates | mg/l | 12 | 500 | ✔ OK | HACH 8051
13 | Phenol | mg/l | 0.0 | 0.2 | ✔ OK | RS ISO8165-2
14 | Total Chlorine | mg/l | 0.00 | 1 | ❌ EXCEEDS | HACH 8021
15 | Free Chlorine | mg/l | 0.00 | 2 | ✔ OK | HACH 8021
16 | Sulphide | mg/l | 0.001 | 1.0 | ✔ OK | HACH 8131
17 | Iron | mg/l | 0.42 | 3.5 | ✔ OK | HACH 8008
18 | Manganese | mg/l | 0.199 | 0.1 | ❌ EXCEEDS | HACH 8149
19 | Copper | mg/l | 0.004 | 3 | ✔ OK | HACH 8506
20 | Zinc | mg/l | 0.19 | 5 | ✔ OK | HACH 8009
21 | Lead | mg/l | <0.005 | 0.1 | ✔ OK | Trace2o-metalyser HM1000
22 | Aluminium (Al) | mg/l | 0.009 | – | No standard | HACH 8012
CONCLUSION: Effluent from NEP Outlet is NOT SAFE for discharge into the environment. Treatment required per RS 109:2022, Third Edition. (Completed: 10/10/2025)
TEST REPORT No: 10/25/032 ¦ Sample: S5 ¦ Code: 20250930-317 ¦ Delivered: 30/09/2025 ¦ Completed: 13/10/2025
No. | Parameter | Unit | Result | Permissible Limit | Status | Method Used
1 | Total Coliforms | Cfu/100 ml | 411×10² | 400 | ❌ EXCEEDS | ISO 9308-1
2 | E. Coli | Cfu/100 ml | 3×10³ | 100 | ❌ EXCEEDS | ISO 9308-1
3 | Salmonella spp | Cfu/1 ml | 3×10² | – | No standard | ISO 9308-1
4 | pH | – | 7.5 | 5–9 | ✔ OK | EPA 150.1
5 | Electrical Conductivity | µS/cm | 3930 | 1500 | ❌ EXCEEDS | HI 98360
6 | Total Suspended Solids | mg/l | 419 | 50 | ❌ EXCEEDS | HACH 8006
7 | Nitrates (NO3-N) | mg/l | 1.5 | 45 | ✔ OK | HACH 8039
8 | Nitrites (NO2-N) | mg/l | 0.025 | 0.9 | ✔ OK | HACH 8507
9 | Ammonia Nitrogen | mg/l | 350 | 20 | ❌ EXCEEDS | HACH 78155
10 | Phosphates | mg/l | 1.40 | 2.2 | ✔ OK | HACH 8048
11 | Oil & Grease | mg/l | 91 | 10 | ❌ EXCEEDS | ISO 9377-2
12 | Sulphates | mg/l | 37 | 500 | ✔ OK | HACH 8051
13 | Phenol | mg/l | 0.0 | 0.2 | ✔ OK | RS ISO8165-2
14 | Total Chlorine | mg/l | 0.00 | 1 | ❌ EXCEEDS | HACH 8021
15 | Free Chlorine | mg/l | 0.00 | 2 | ✔ OK | HACH 8021
16 | Sulphide | mg/l | 0.46 | 1.0 | ✔ OK | HACH 8131
17 | Iron | mg/l | 1.03 | 3.5 | ✔ OK | HACH 8008
18 | Manganese | mg/l | 0.387 | 0.1 | ❌ EXCEEDS | HACH 8149
19 | Copper | mg/l | 0.003 | 3 | ✔ OK | HACH 8506
20 | Zinc | mg/l | 0.17 | 5 | ✔ OK | HACH 8009
21 | Lead | mg/l | <0.005 | 0.1 | ✔ OK | Trace2o-metalyser HM1000
22 | Aluminium (Al) | mg/l | 0.007 | – | No standard | HACH 8012
CONCLUSION: Effluent from NEP S5 is NOT SAFE for discharge into the environment. Treatment required per RS 109:2022, Third Edition. (Completed: 13/10/2025)

## Biodiversity Survey – All Point
DATASET 2 — Biodiversity Survey Water Quality Assessment ¦ 12 Internal Sampling Points ¦ Freshwater/Wetland Standards
No. | Parameter | Unit | Permissible Limit | S1 Pond 1 | S1 Pond 2 | S1 Pond 3 | S1 Pond 4 | S1 Pond 5 | S1→S2 Inlet | S2 Masoro Exit | S3 Kivu Pond | S3 Pond 1 | S4 Ruhondo | S5 at Bridge | S5 Ihema Pond | Method
1 | Water Temperature | °C | – | 22.6 | 22.2 | 22.7 | 24.5 | 22.8 | 22 | 22 | 26.1 | 24.9 | 25.9 | 21 | 22.4 | –
2 | pH |  | 5–9 | 7.02 | 6.94 | 6.52 | 6.42 | 6.14 | 7.18 | 7.28 | 8.26 | 5.88 | 7.28 | 7.36 | 7.12 | ISO 10523
3 | Turbidity | NTU | 30 | 8.7 | 16.5 | 45.6 | 16.3 | 2.5 | 8.4 | 3.36 | 14.1 | 3.28 | 16.7 | 17.1 | 8.1 | ISO7027-1
4 | Electrical Conductivity | µS/cm | 2500 | 551 | 655 | 583 | 280 | 260 | 602 | 405 | 536 | 299 | 573 | 479 | 276 | ISO 7888
5 | Total Dissolved Solids | mg/l | 1500 | 282 | 340 | 300 | 136.8 | 130.2 | 314 | 239 | 254 | 143.4 | 273 | 231 | 139.4 | ASTM D 5907-13
6 | Dissolved Oxygen | mg/l | >5 | 3.8 | 3.3 | 3.3 | 0.1 | 5.8 | 3.9 | 5 | 7.7 | 4.9 | 5 | 5.2 | 4.2 | ISO 17289
7 | Ammonia Nitrogen | mg/l | 5 | 0.09 | 0.07 |  | 0.17 | 0.06 | 0.12 | 0.17 | 0.17 | 0.22 | 0.1 | 0.14 | 0.1 | ISO 11732
8 | Nitrate Nitrogen | mg/l | 10 | 1 | 1.7 | 2.3 | 2.6 | 14.8 | 1 | 7.5 | 1.1 | 7.7 | 0.8 | 0.7 | 1 | ISO 15923-1
9 | Phosphate | mg/l | 2.2 | 1.6 | 0.76 | 0.52 | 0.6 | 0.77 | 0.48 | 0.68 | 0.25 | 0.7 | 0.42 | 0.33 | 0.2 | HACH 8048
10 | Total Nitrogen | mg/l | 30 | 18.8 | 8.9 | 9.9 | 19.1 | 19.4 | 4.7 | 3.75 | 7.8 | 16.5 | 13.8 | 7.3 | 10.8 | ISO 5663
11 | Total Phosphorus | mg/l | 5 | 0.35 | 0.65 | 1 | 0.75 | 1.41 | 1.8 | 0.79 | 0.48 | 1.17 | 0.48 | 0.47 | 0.57 | ISO 17294-2
12 | Total Suspended Solids | mg/l | 80 | 6 | 17 | 18 | 16 | 4 | 5 | 4 | 10 | 4 | 42 | 8 | 11 | ISO11923
13 | Chemical Oxygen Demand | mg/l | 250 | 153 | 155 | 114 | 171 | 106 | 46.2 | 48 | 60.7 | 61.6 | 52.2 | 33 | 12.8 | ISO 15705
14 | Biochemical Oxygen Demand | mg/l | 50 | 90.4 | 66 | 60.5 | 104.6 | 54.4 | 25.4 | 27.1 | 23.5 | 37.3 | 31.2 | 38.6 | 7.1 | ISO 5815-2
15 | Iron | mg/l | 3.5 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ISO/TS 15923-2
16 | Manganese | mg/l | 1 | 0.588 | ND | ND | ND | 0.609 | ND | ND | 0.026 | ND | ND | ND | ND | ISO/TS 15923-2
17 | Lead | mg/l | 0.01 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ISO 8288
18 | Cadmium | mg/l | 0.01 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ISO 8288
19 | Chromium | mg/l | 1 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ISO 17294-2
20 | Oil & Grease | mg/l | 10 | 2.5 | 3.33 | 4.17 | 3.34 | 2.52 | 0.83 | 0.23 | 0.84 | ND | 0.84 | ND | ND | ISO 9377-2
21 | Total Coliforms | cfu/100ml | 1000 | 3.86e+05 | 322 | 612 | 8.81e+03 | 407 | 2.40e+03 | 1.22e+03 | 206 | 944 | 2.23e+03 | 284 | 813 | ISO 6222
22 | Fecal Coliforms | cfu/100ml | 400 | 7.48e+04 | <1 | 210 | 2.11e+03 | <1 | 870 | 325 | <1 | 246 | 149 | <1 | 110 | ISO 6222
23 | Escherichia coli | cfu/100ml | 100 | 3.14e+03 | <1 | <1 | 500 | <1 | 200 | <1 | <1 | <1 | <1 | <1 | <1 | ISO 6222

## Compliance Summary
COMPLIANCE SUMMARY — WASAC Effluent Tests & Biodiversity Survey
SECTION A — WASAC Effluent Tests (RS 109:2022) ¦ Parameters exceeding limits per sampling point
Parameter | R1 | R2 | Outlet | S5 | Exceeded at # Points
Total Coliforms | ❌ | ❌ | ❌ | ❌ | 4
E. Coli | ❌ | ❌ | ❌ | ❌ | 4
Electrical Conductivity | ✔ | ✔ | ✔ | ❌ | 1
Total Suspended Solids | ❌ | ✔ | ✔ | ❌ | 2
Ammonia Nitrogen | ✔ | ✔ | ✔ | ❌ | 1
Phosphates | ❌ | ✔ | ✔ | ✔ | 1
Oil & Grease | ❌ | ❌ | ✔ | ❌ | 3
Total Chlorine | ❌ | ❌ | ❌ | ❌ | 4
Iron | ❌ | ❌ | ✔ | ✔ | 2
Manganese | ❌ | ❌ | ❌ | ❌ | 4
SECTION B — Biodiversity Survey (12 Sampling Points) ¦ Parameters exceeding limits at 1+ points
Parameter | # Points Exceeded | # Points Compliant | # Points ND/No Data | Total Points | Key Concern
Turbidity | 1 | 11 | 0 | 12 | S1 Pond 3
Dissolved Oxygen | 7 | 5 | 0 | 12 | S1 Pond 1, S1 Pond 2, S1 Pond 3, S1 Pond 4…
Nitrate Nitrogen | 1 | 11 | 0 | 12 | S1 Pond 5
Biochemical Oxygen Demand | 5 | 7 | 0 | 12 | S1 Pond 1, S1 Pond 2, S1 Pond 3, S1 Pond 4…
Total Coliforms | 5 | 7 | 0 | 12 | S1 Pond 1, S1 Pond 4, S1→S2 Inlet, S2 Masoro Exit…
Fecal Coliforms | 3 | 5 | 4 | 12 | S1 Pond 1, S1 Pond 4, S1→S2 Inlet
Escherichia coli | 3 | 0 | 9 | 12 | S1 Pond 1, S1 Pond 4, S1→S2 Inlet

## Compliance Rates
NYANDUNGU ECO-PARK — WATER QUALITY COMPLIANCE RATE ANALYSIS
Formula: Compliance Rate = (Compliant Measurements ÷ Total Valid Measurements) × 100 ¦ Parameters without a defined standard are excluded from the calculation
SECTION A — WASAC EFFLUENT TESTS (Standard: RS 109:2022 ¦ 4 Sampling Points ¦ 20 Valid Parameters)
Sampling Point | Report No. | Valid Parameters | # Exceeded | # Compliant | Compliance Rate | Rating | Note
R1 | 10/25/029 | 20 | 8 | 12 | 60.0% | ✗ POOR | Severe: TSS×15, Oil&Grease×10.5, E.coli×192×
R2 | 10/25/030 | 20 | 6 | 14 | 70.0% | ⚠ MODERATE | Oil&Grease, Coliforms, Iron, Manganese exceed
Outlet | 10/25/031 | 20 | 4 | 16 | 80.0% | ⚠ MODERATE | Best performer; Coliforms + Manganese breach
S5 | 10/25/032 | 20 | 8 | 12 | 60.0% | ✗ POOR | Critical: Ammonia×17.5, TSS×8.4, Oil&Grease×9.1
WASAC OVERALL (80 measurements, 20 valid parameters × 4 points) |  |  |  |  | 67.5% | ⚠ MODERATE | 32.5% of parameters exceed RS 109:2022 limits. All 4 points unsafe for direct discharge.
SECTION B — BIODIVERSITY SURVEY: COMPLIANCE BY PARAMETER (22 Valid Parameters × 12 Points = 264 measurements)
Parameter | Unit | Limit | # Exceeded | # Compliant | No Data | Compliance Rate | Rating / Note
pH |  | 5–9 | 0 | 12 | – | 100.0% | ✔ Full compliance
Turbidity | NTU | ≤30 | 1 | 11 | – | 91.7% | ⚠ S1 Pond 3 (45.6 NTU)
Electrical Conductivity | µS/cm | ≤2500 | 0 | 12 | – | 100.0% | ✔ Full compliance
Total Dissolved Solids | mg/l | ≤1500 | 0 | 12 | – | 100.0% | ✔ Full compliance
Dissolved Oxygen | mg/l | >5 | 7 | 5 | – | 41.7% | ✗ CRITICAL — 7 points below threshold
Ammonia Nitrogen | mg/l | ≤5 | 0 | 11 | 1 | 100.0% | ✔ 1 point no data
Nitrate Nitrogen | mg/l | ≤10 | 1 | 11 | – | 91.7% | ⚠ S1 Pond 5 (14.8 mg/l)
Phosphate | mg/l | ≤2.2 | 0 | 12 | – | 100.0% | ✔ Full compliance
Total Nitrogen | mg/l | <30 | 0 | 12 | – | 100.0% | ✔ Full compliance
Total Phosphorus | mg/l | <5 | 0 | 12 | – | 100.0% | ✔ Full compliance
Total Suspended Solids | mg/l | ≤80 | 0 | 12 | – | 100.0% | ✔ Full compliance
Chemical Oxygen Demand | mg/l | <250 | 0 | 12 | – | 100.0% | ✔ Full compliance (high but within limit)
Biochemical Oxygen Demand | mg/l | <50 | 5 | 7 | – | 58.3% | ✗ HIGH CONCERN — 5 of 12 points exceed
Iron | mg/l | ≤3.5 | 0 | 12 | – | 100.0% | ✔ Not detected at all 12 points
Manganese | mg/l | ≤1 | 0 | 12 | – | 100.0% | ✔ All values within limit
Lead | mg/l | ≤0.01 | 0 | 12 | – | 100.0% | ✔ Not detected at all 12 points
Cadmium | mg/l | ≤0.01 | 0 | 12 | – | 100.0% | ✔ Not detected at all 12 points
Chromium | mg/l | ≤1 | 0 | 12 | – | 100.0% | ✔ Not detected at all 12 points
Oil & Grease | mg/l | ≤10 | 0 | 12 | – | 100.0% | ✔ All within limit (ND = compliant)
Total Coliforms | cfu/100ml | ≤1000 | 5 | 7 | – | 58.3% | ✗ S1 P1 extreme (386,000 cfu/100ml)
Fecal Coliforms | cfu/100ml | ≤400 | 3 | 9 | – | 75.0% | ⚠ S1 P1, S1 P4, S1→S2 exceed
Escherichia coli | cfu/100ml | ≤100 | 3 | 9 | – | 75.0% | ⚠ S1 P1 (3,140), S1 P4 (500), S1→S2 (200)
BIODIVERSITY SURVEY OVERALL (263 valid measurements across 22 parameters × 12 points; 1 missing data point excluded) | [5 empty] | 90.5% | 9.5% of measurements non-compliant. Key drivers: DO, BOD, coliforms. S1 zone most degraded.
SECTION C — BIODIVERSITY SURVEY: COMPLIANCE BY SAMPLING POINT
Sampling Point | Sector | Valid Params | # Exceeded | # Compliant | Compliance Rate | Rating | Key Issues
S1 Pond 1 | Sector 1 | 22 | 5 | 17 | 77.3% | ✗ POOR | Total Coliforms (386,000), Fecal (74,800), E.coli (3,140), BOD (90.4), DO (3.8)
S1 Pond 2 | Sector 1 | 22 | 2 | 20 | 90.9% | ⚠ MODERATE | DO (3.3 mg/l), BOD (66 mg/l)
S1 Pond 3 | Sector 1 | 21 | 3 | 18 | 85.7% | ⚠ MODERATE | Turbidity (45.6 NTU), DO (3.3), BOD (60.5)
S1 Pond 4 | Sector 1 | 22 | 5 | 17 | 77.3% | ✗ POOR | DO (0.1 – near anoxic), BOD (104.6), Fecal Coliforms (2,110), E.coli (500), Total Coliforms (8,810)
S1 Pond 5 | Sector 1 | 22 | 2 | 20 | 90.9% | ⚠ MODERATE | Nitrate (14.8 mg/l), BOD (54.4)
S1 → S2 Inlet | Sectors 1–2 | 22 | 4 | 18 | 81.8% | ⚠ MODERATE | DO (3.9), BOD (25.4), Fecal Coliforms (870), E.coli (200)
S2 Masoro Exit | Sector 2 | 22 | 1 | 21 | 95.5% | ✔ GOOD | BOD (27.1) – minor exceedance only
S3 Kivu Pond | Sector 3 | 22 | 0 | 22 | 100.0% | ✔ FULL | All parameters within limits
S3 Pond 1 | Sector 3 | 22 | 1 | 21 | 95.5% | ✔ GOOD | BOD (37.3)
S4 Ruhondo | Sector 4 | 22 | 1 | 21 | 95.5% | ✔ GOOD | BOD (31.2)
S5 at Bridge | Sector 5 | 22 | 0 | 22 | 100.0% | ✔ FULL | All parameters within limits
S5 Ihema Pond | Sector 5 | 22 | 1 | 21 | 95.5% | ✔ GOOD | BOD (38.6)